# Macroalgae component

Contract Manager: Gillian Annett, DAERA-NI.

Component Administrator: Georgina Brackenreed-Johnston, APEM Ltd.

This is the nineteenth year of the Macroalgae Component.

## Summary of activities

The format for 2024 - 25 followed that of the previous year.

The component consisted of two modules:

1. Opportunistic Macroalgae Biomass Ring Test (OMB - RT): - synthetic samples of different weights for washing and drying to both wet and dry weights.

2. Opportunistic Macroalgae/Seagrass Cover Ring Test (OMC - RT):- estimation of  percentage cover of opportunistic macroalgae and seagrass based on photographs of field quadrats.

The analytical procedures of both modules were the same as for the previous years of the Scheme. There were nine laboratories participating in the OMB-RT and ten laboratories in the OMC-RT.

## Summary of results

Biomass of macroalgae (OMB-RT16)

This is the sixteenth year in which biomass of macroalgae has been included as a module of the NMBAQC scheme and was included as a single exercise. The format followed that established by Wells Marine during the previous years of the module (OMB RT01 – RT12 - see NMBAQC website). Test material was distributed to participating laboratories along with data forms, which were completed with algal biomass results and returned for analysis.

Ten laboratories were issued with test material, of which nine laboratories returned completed results workbooks. All participants returned both wet and dry weight data. Of those participants that submitted results, eight laboratories were government organisations and one was a non-governmental organisation.

As with previous years, results for wet weight of biomass varied between laboratories with some laboratories producing very different measures of biomass when compared against the average biomass and actual/expected biomass. The level of accuracy remains greater for measurement of dry weight than of wet weight, although in RT16 each of the samples had a single dry weight outlier that was noticeably higher than the other eight results.

Most of the results for both the dry and wet weights when compared against either mean values or expected/actual weights could be considered acceptable with only four results flagged as ‘fails’ based on resulting z-scores. However, one of the limitations of using z-scores is that they are directly dependent on the standard deviation values and higher standard deviations can reduce the chance of achieving a ‘fail’ based on the resulting +/- 2.00 cut-off value. The results for comparisons against expected and actual wet and dry weight, respectively, are also consistent with previous years with an increased number of ‘fails’ recorded using z-scores.

This year has been the third to use mixtures of different materials for the samples, following six consecutive years in which each sample consisted of a different artificial material. This approach was well received by participants as being more representative of the mixtures of different algal types that are often found on the shore and helps reduce potential differences caused by the differences in processing difficulty with each of the different synthetic materials. Based on this feedback samples containing mixtures of different materials will continue to be used in future tests.

Cover of macroalgae & seagrass (OMC-RT16)

This is the sixteenth year in which percentage cover estimations of macroalgae have been included as an element of the NMBAQC scheme and the fourteenth year for which seagrass has been assessed as a separate exercise. This module included one exercise for macroalgae and one for seagrass, both of which were split into three additional tests based on methodology. The format followed that established by Wells Marine during the previous years of the module (RT03 – RT12).

Ten laboratories were issued test material. All ten laboratories submitted results for at least one the exercises, with a total of 25 individual participants. Of those laboratories submitting results, eight were government organisations, one was a non-government organisation and one was a private consultancy. Due to the nature of the exercises, there was no upper limit on the number of participants per laboratory that could submit results.

Results for percentage cover of both opportunist macroalgae and seagrass varied between participants and between the different methods used. Several results deviated from the sample mean and from the % cover as calculated by image analysis. Deviation from the latter was more noticeable and this has also been reported in previous years. There was a considerable lack of consistency between the three methods in terms of the degree of continuity between participants as well as how the data compared with the image analysis % cover. The range of results provided was higher this year than the previous year but was still consistent with results observed in earlier years of the percentage cover exercises.

For both the macroalgae and seagrass tests, method C was the most popular. In theory test method C should provide the least subjective method of estimation, as counting the number of crosshairs under which macroalgae or seagrass lay should be a relatively straight forward method. However, there is still a large disparity in results, often much higher than for the other test methods that may suggest the method is either not being used consistently between participants or that the use of an overlaid grid may obscure the photograph and make it more difficult to confirm whether there is algae/seagrass beneath.

There were noticeable differences both between seagrass and macroalgae results and between the different methods of estimation used and the resulting number of ‘fails’. The macroalgae results show that for comparisons against the mean the percentage of ‘fails’ was highest for Test C and lowest for Test B. The comparisons against ImageJ results also had the highest percentage of ‘fails’ for Test C, but lowest percentage for test A. The seagrass results had the lowest percentage of ‘fails’ Test C and similar percentages of ‘fails’ for Tests A and B for both comparisons against the mean and comparisons against the ImageJ results. As in previous years the number of ‘fails’ was much higher for comparison against ImageJ than against mean. This has come to be expected as using ImageJ analysis is a less subjective method and using the mean is naturally going to allow more estimates to sit within the Z-score +/- 2.00 range.

The percentage of fails against ImageJ was consistently higher for macroalgae than for seagrass in all three tests. One possible reason is that the standard deviation was consistently lower for the macroalgae results than for seagrass. This leads to a more stringent z-score pass/fail cutoff for the macroalgae results compared to the seagrass.

There do not appear to be clear patterns of results between years, although direct comparisons are made more difficult by the inconsistent numbers of participants both between methodologies and between years. The percentage of ‘fails’ against the mean were broadly similar for both macroalgae and seagrass in RT16. The percentage of ‘fails’ against ImageJ for both macroalgae and seagrass were generally higher in the current year than in RT16, except for seagrass Test C, which had a similar percentage of ‘fails’. In RT16 comparisons against the mean and ImageJ results for both the macroalgae and seagrass had the highest percentage of fails Test C and the lowest percentage for Test A.

## Reports

OMB RT16 Final Report 2025

Pears, S. & Brackenreed-Johnston, G. 2025. National Marine Biological Analytical Quality Control Scheme. Macroalgae Biomass Component Report Ring Test OMB RT16 2025. Report to the NMBAQC Scheme participants. Apem Report NMBAQCmaomb16, 8pp, May 2025.

OMC RT16 Final Report 2025

Pears, S. & Brackenreed-Johnston, G. 2025. National Marine Biological Analytical Quality Control Scheme. Macroalgae Biomass Component Report Ring Test OMC RT16 2025. Report to the NMBAQC Scheme participants. Apem Report NMBAQCmaomc16, 15pp, May 2025.